| Date: |  |
| --- | --- |
| Location: |  |
| Participants: |  |
| CFH Security Staff |  |
| Drill Type | ( Actual Fire ( Unannounced Drill ( Interim Life Safety Measures Drill |

| Location of Pull Station/Box Activated: |  |
| --- | --- |
| Fire alarm sounded and activated: | ( Yes ( No |
| Were the fire alarm devices functioning properly (chimes, strobes, overhead announcements audible)? | ( Yes ( No |

| MSC staff response: | Yes | No |
| --- | --- | --- |
| Were all fire doors in the area closed? |  |  |
| Were the fire exit corridors and hallways free from obstruction? |  |  |
| Staff was able to demonstrate knowledge of the medical gas shut-off procedures? |  |  |
| Staff able to articulate the amount of time available due to fire walls? |  |  |
| Staff was able to demonstrate knowledge of adjacent smoke compartments? |  |  |
| Staff was able to simulate movement to adjacent smoke compartments? |  |  |
| Able to articulate and simulate response to R. A. C. E.? |  |  |
| Remove patients from immediate danger |  |  |
| Activate the nearest Alarm (pull box) and call the fire department (9-911) |  |  |
| Contain the fire by closing all doors beginning with the room of origin and then all room doors starting with those that are closest to the room or area of origin |  |  |
| Extinguish the fire utilizing a fire extinguisher if not increasing the safety risk to oneself or others. Evacuate patients and staff from the area. |  |  |
| Staff was able to demonstrate knowledge of who to call and which pull box to activate? |  |  |
| Able to articulate the locations of the fire extinguishers and pull stations? |  |  |
| Able to demonstrate the fire extinguishing technique P.A.S.S? |  |  |
| Pull the pin |  |  |
| Aim the nozzle at the base of the fire |  |  |
| Squeeze the extinguisher handles |  |  |
| Sweep from side to side |  |  |
| Was staff knowledgeable of the primary and secondary egress route locations? |  |  |
| Was staff knowledgeable on proper evacuation procedures? |  |  |
| Staff was able to demonstrate procedures to safely evacuate patients and self? |  |  |
| Did all staff meet at the designated meeting location once evacuated? |  |  |
| Did the employees act as a team? |  |  |

Please write any comments regarding drill on back of form.

| Evaluation completed by: |  | Date: |  |
| --- | --- | --- | --- |